## Slide 1: Deep Learning for Lung Nodule Classification in CT Images
Manuel Rocamora, Evgeny Grachev, David Blasco, Anselmo González

## Slide 2: Index 01 05 02 06
Introduction
Objectives
Results
Disccusions
State-of-art
03
07
Methodology
04
08
Limitations & Future Work
Conclusiones

## Slide 3: Introduction 01

## Slide 4: Introduction
The leading cause of cancer-related deaths worldwide.
It is classified into two main types:
Non-Small Cell Lung Cancer (NSCLC): Accounts for 80-85% of cases.
Small Cell Lung Cancer (SCLC): Less common but more aggressive.
Most cases are diagnosed at advanced stages, limiting treatment options.
Advanced imaging and computational tools enable early and accurate detection of lung nodules, reducing mortality.

## Slide 5: Objectives 02

## Slide 6: Objectives
Robust deep learning model using CNN
High accuracy and reliability without relying on manual feature extraction
Provide rapid and precise diagnostic support

## Slide 7: State-of-art 03

## Slide 8: Indications and contraindications
Traditional
Cnns
Chest X-Ray
Computed Tomography(CT)
Visual method
3D deep CNN
Radiomics and
CNN
CMixNet
Jung
Mat
Nasrullah

## Slide 9: Methodology 04

## Slide 10: Dataset Description (LIDC-IDRI)
Publicly available dataset used for medical imaging research.
Content:
  Thoracic CT scans.
  Labels classifying pulmonary nodules as benign or malignant.
Preprocessing:
  Extraction of 2D regions of interest (ROIs).
  Normalization and resizing to 124x124 pixels.
Data augmentation techniques:
  Rotation.
  Flipping.
  Zooming.

## Slide 11: CNN Model Architecture
Structure:
  Input: Grayscale images (124x124x1).
    Convolutional layers:
    3 layers with 32, 64, and 64 filters.
    Batch normalization and max pooling to reduce dimensions.
  Fully connected layers:
    1 layer with 128 units and ReLU activation.
    Dropout layer for regularization (30% rate).
  Output: Softmax layer for binary classification (benign or malignant).
  Optimization:
    Algorithm: Adam (learning rate 0.001).
    Loss function: Categorical cross-entropy.

## Slide 12: Training Parameters and Validation
Dataset split:
  Training: 70%.
  Validation: 30%.
Class imbalance (malignant cases):
  Addressed using class weights.
Training:
  50 epochs with a batch size of 20.
Validation:
  Key metrics: Accuracy, sensitivity, specificity, and ROC-AUC.
  Monitored overfitting using accuracy and loss graphs.

## Slide 13: Results 05

## Slide 14: Results
Key Metrics
Accuracy: 80%.
Sensitivity (malignant detection): 86%.
Specificity (benign detection): 76%.
ROC AUC: 0.87

## Slide 15: Results
Key Metrics
Accuracy: 80%.
Sensitivity (malignant detection): 86%.
Specificity (benign detection): 76%.
ROC AUC: 0.87

## Slide 16: Results
Key Metrics
Accuracy: 80%.
Sensitivity (malignant detection): 86%.
Specificity (benign detection): 76%.
ROC AUC: 0.87

## Slide 17: Results
Key Metrics
Accuracy: 80%.
Sensitivity (malignant detection): 86%.
Specificity (benign detection): 76%.
ROC AUC: 0.87.

## Slide 18: Results
Model Performance
Effectively classifies benign and malignant nodules.
Good balance between sensitivity and specificity.

## Slide 19: Results
As we can observe in the accuracy graph, the model achieves a training accuracy of 0.91 and a validation accuracy of 0.8.
This behavior suggests that the model generalizes well, with no apparent signs of overfitting.

## Slide 20: Results
As we can observe in the accuracy graph, the model achieves a training accuracy of 0.91 and a validation accuracy of 0.8.
This behavior suggests that the model generalizes well, with no apparent signs of overfitting.

## Slide 21: Results
The graph shows that training loss decreases steadily and stabilizes, while validation loss, despite some fluctuations (notably around epoch 30), follows a similar trend.
The alignment between both losses suggests no significant overfitting and good generalization.

## Slide 22: Results
The graph shows that training loss decreases steadily and stabilizes, while validation loss, despite some fluctuations (notably around epoch 30), follows a similar trend.
The alignment between both losses suggests no significant overfitting and good generalization.

## Slide 23: Results
The training loss is consistently lower than the validation loss towards the end of training.
This could be a slight sign of overfitting, but it does not appear critical as the two curves do not diverge significantly.

## Slide 24: Discussions 06

## Slide 25: 86%
Sensitivity (correctly identify malignant tumors)

## Slide 26
Correctly classifies 80% of all nodules
80% Acuaccy
Identifies 76% of benign nodules
76% Specifity
Very good performance between benign and malignant
0.87 AUC

## Slide 27: Advantages
Balanced Data
Data augmentation techniques helped to balance the dataset
Scalability
Practility
Flexible and adaptable model
High sensitivity and specificity
Robust Performance
Jupiter is the biggest planet of them all

## Slide 28: Limitations and Future Work 07

## Slide 29: LIMITATIONS
Computational resources:
  Lack of access to advanced hardware (clusters or GPUs).
  Prolonged training times and limited experimentation.
Dataset size:
  Despite augmentation, the dataset remains relatively small.

## Slide 30: Future Work
Computational resources:
  Leverage high-performance clusters or cloud platforms (AWS, Google Cloud).
Model enhancements:
  Explore advanced architectures (transformers, hybrid models).
  Transfer learning using pre-trained medical imaging models.
Validation on real-world data:
  Test on independent clinical datasets to assess robustness.
  Integrate explainability techniques (Grad-CAM, SHAP).

## Slide 31: Conclussions 08

## Slide 32
Conclussions
High accuracy, sensitivity and specificity
Support to clinical decision making
Need for future advancements, such as larger datasets, access to high-performance computational resources and validation on real word clinical data.

## Slide 33
Conclussions
High accuracy, sensitivity and specificity
Support to clinical decision making
Need for future advancements, such as larger datasets, access to high-performance computational resources and validation on real word clinical data.

## Slide 34
Thanks!